## Sheet1
Long Term Heat Storage Calculations |  |  |  | Tank Size(L)
50000
Gains Table
Solar Panel Power (kW) |  | Daily Sun(hr) | Daily Gain(kWh) | 90-day (kWh)
Spring | 10 | 3 | 30 | 2700
Summer | 10 | 4 | 40 | 3600
Autumn | 10 | 3 | 30 | 2700
Winter | 10 | 2 | 20 | 1800
|  |  | Total annual gain | 10800
Losses Table
| Radiation(kW) | Daily Rad. | Daily Showers | Daily C.Heat | Daily Totals | 90-day(kWh)
Spring | 0.7 | 16.8 | 7 | 0 | 23.8 | 2142
Summer | 0.7 | 16.8 | 7 | 0 | 23.8 | 2142
Autumn | 0.7 | 16.8 | 7 | 0 | 23.8 | 2142
Winter | 0.7 | 16.8 | 7 | 20 | 43.8 | 3942
[5 empty] | Tot.Ann.Loss | 10368
Seasonal NET Gain Table
|  |  | Start Temp | TempRise | End Temp
Spring | 558 |  | 30 | 9.5976 | 39.5976
Summer | 1458 |  | 39.5976 | 25.0776 | 64.6752
Autumn | 558 |  | 64.6752 | 9.5976 | 74.2728
Winter | -2142 |  | 74.2728 | -36.8424 | 37.4304
Total NET | 432